Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 01 40 00 - QUALITY REQUIREMENTS

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

SUMMARY

Section includes administrative and procedural requirements for quality assurance and quality control.

Testing and inspecting services are required to verify compliance with requirements specified or indicated.  These services do not relieve Contractor of responsibility for compliance with the Contract Document requirements.

Retain both subparagraphs below to clarify applicability of provisions in this Section.  Revise to suit Project.  Coordinate revisions with the General Conditions and other Division 01 Sections.

Specified tests, inspections, and related actions do not limit Contractor's other quality-assurance and -control procedures that facilitate compliance with the Contract Document requirements.

Requirements for Contractor to provide quality-assurance and -control services required by Architect, Owner, or authorities having jurisdiction are not limited by provisions of this Section.

Specific test and inspection requirements are not specified in this Section.

DEFINITIONS

Retain terms that remain after this Section has been edited for a project.

Quality-Assurance Services:  Activities, actions, and procedures performed before and during execution of the Work to guard against defects and deficiencies and substantiate that proposed construction will comply with requirements.

Quality-Control Services:  Tests, inspections, procedures, and related actions during and after execution of the Work to evaluate that actual products incorporated into the Work and completed construction comply with requirements.  Services do not include contract enforcement activities performed by Architect.

Retain "Mockups" Paragraph below if Project requires mockups.  Revise if any mockups are to be constructed at an off-site location.

Mockups:  Full-size physical assemblies that are constructed on-site.  Mockups are constructed to verify selections made under Sample submittals; to demonstrate aesthetic effects and, where indicated, qualities of materials and execution; to review coordination, testing, or operation; to show interface between dissimilar materials; and to demonstrate compliance with specified installation tolerances.  Mockups are not Samples.  Unless otherwise indicated, approved mockups establish the standard by which the Work will be judged.

Laboratory Mockups:  Full-size physical assemblies constructed at testing facility to verify performance characteristics.

Preconstruction Testing:  Tests and inspections performed specifically for Project before products and materials are incorporated into the Work, to verify performance or compliance with specified criteria.

Product Testing:  Tests and inspections that are performed by an NRTL, an NVLAP, or a testing agency qualified to conduct product testing and acceptable to authorities having jurisdiction, to establish product performance and compliance with specified requirements.

Source Quality-Control Testing:  Tests and inspections that are performed at the source, e.g., plant, mill, factory, or shop.

Field Quality-Control Testing:  Tests and inspections that are performed on-site for installation of the Work and for completed Work.

Testing Agency:  An entity engaged to perform specific tests, inspections, or both.  Testing laboratory shall mean the same as testing agency.

Installer/Applicator/Erector:  Contractor or another entity engaged by Contractor as an employee, Subcontractor, or Sub-subcontractor, to perform a particular construction operation, including installation, erection, application, and similar operations.

Use of trade-specific terminology in referring to a trade or entity does not require that certain construction activities be performed by accredited or unionized individuals, or that requirements specified apply exclusively to specific trade(s).

CONFLICTING REQUIREMENTS

Referenced Standards:  If compliance with two or more standards is specified and the standards establish different or conflicting requirements for minimum quantities or quality levels, comply with the most stringent requirement.  Refer conflicting requirements that are different, but apparently equal, to Architect for a decision before proceeding.

Minimum Quantity or Quality Levels:  The quantity or quality level shown or specified shall be the minimum provided or performed.  The actual installation may comply exactly with the minimum quantity or quality specified, or it may exceed the minimum within reasonable limits.  To comply with these requirements, indicated numeric values are minimum or maximum, as appropriate, for the context of requirements.  Refer uncertainties to Architect for a decision before proceeding.

INFORMATIONAL SUBMITTALS

Retain "Contractor's Statement of Responsibility" Paragraph below when local code requirements stipulate submittal to authorities having jurisdiction of Contractor's statement of responsibility for seismic- or wind-force-resisting system construction and if an informational submittal is required.  See requirements in the 2006 IBC, Sections 1705 and 1706.

Contractor's Statement of Responsibility:  When required by authorities having jurisdiction, submit copy of written statement of responsibility sent to authorities having jurisdiction before starting work on the following systems:

Seismic-force-resisting system, designated seismic system, or component listed in the designated seismic system quality-assurance plan prepared by Architect.

Main wind-force-resisting system or a wind-resisting component listed in the wind-force-resisting system quality-assurance plan prepared by Architect.

Testing Agency Qualifications:  For testing agencies specified in "Quality Assurance" Article to demonstrate their capabilities and experience.  Include proof of qualifications in the form of a recent report on the inspection of the testing agency by a recognized authority.

REPORTS AND DOCUMENTS

Revise "Test and Inspection Reports" Paragraph below to suit Project.  In the case of multiple contracts, consider assigning responsibility for coordination of report submittals to one contract.

Test and Inspection Reports:  Prepare and submit certified written reports specified in other Sections.  Include the following:

Date of issue.

Project title and Owner [and Architect] project number.

Name, address, and telephone number of testing agency.

Dates and locations of samples and tests or inspections.

Names of individuals making tests and inspections.

Description of the Work and test and inspection method.

Identification of product and Specification Section.

Complete test or inspection data.

Test and inspection results and an interpretation of test results.

Record of temperature and weather conditions at time of sample taking and testing and inspecting.

Comments or professional opinion on whether tested or inspected Work complies with the Contract Document requirements.

Name and signature of laboratory inspector.

Recommendations on retesting and reinspecting.

Manufacturer's Field Reports:  Prepare written information documenting tests and inspections specified in other Sections.  Include the following:

Name, address, and telephone number of representative making report.

Statement on condition of substrates and their acceptability for installation of product.

Summary of installation procedures being followed, whether they comply with requirements and, if not, what corrective action was taken.

Results of operational and other tests and a statement of whether observed performance complies with requirements.

Other required items indicated in individual Specification Sections.

Retain general requirements in "Permits, Licenses, and Certificates" Paragraph below.  Specific submittals may be specified in other Sections.

Permits, Licenses, and Certificates:  For Owner's records, submit copies of permits, licenses, certifications, inspection reports, releases, jurisdictional settlements, notices, receipts for fee payments, judgments, correspondence, records, and similar documents, established for compliance with standards and regulations bearing on performance of the Work.

QUALITY ASSURANCE

General:  Qualifications paragraphs in this article establish the minimum qualification levels required; individual Specification Sections specify additional requirements.

Manufacturer Qualifications:  A firm experienced in manufacturing products or systems similar to those indicated for this Project and with a record of successful in-service performance, as well as sufficient production capacity to produce required units.

Fabricator Qualifications:  A firm experienced in producing products similar to those indicated for this Project and with a record of successful in-service performance, as well as sufficient production capacity to produce required units.

Installer Qualifications:  A firm or individual experienced in installing, erecting, or assembling work similar in material, design, and extent to that indicated for this Project, whose work has resulted in construction with a record of successful in-service performance.

Professional Engineer Qualifications:  A professional engineer who is legally qualified to practice in jurisdiction where Project is located and who is experienced in providing engineering services of the kind indicated.  Engineering services are defined as those performed for installations of the system, assembly, or product that are similar in material, design, and extent to those indicated for this Project.

Specialists:  Certain Specification Sections require that specific construction activities shall be performed by entities who are recognized experts in those operations.  Specialists shall satisfy qualification requirements indicated and shall be engaged for the activities indicated.

Requirements of authorities having jurisdiction shall supersede requirements for specialists.

Testing Agency Qualifications:  An NRTL, an NVLAP, or an independent agency with the experience and capability to conduct testing and inspecting indicated, as documented according to ASTM E 329; and with additional qualifications specified in individual Sections; and, where required by authorities having jurisdiction, that is acceptable to authorities.

NRTL:  A nationally recognized testing laboratory according to 29 CFR 1910.7.

NVLAP:  A testing agency accredited according to NIST's National Voluntary Laboratory Accreditation Program.

Manufacturer's Representative Qualifications:  An authorized representative of manufacturer who is trained and approved by manufacturer to observe and inspect installation of manufacturer's products that are similar in material, design, and extent to those indicated for this Project.

Preconstruction Testing:  Where testing agency is indicated to perform preconstruction testing for compliance with specified requirements for performance and test methods, comply with the following:

Contractor responsibilities include the following:

Provide test specimens representative of proposed products and construction.

Submit specimens in a timely manner with sufficient time for testing and analyzing results to prevent delaying the Work.

Build laboratory mockups at testing facility using personnel, products, and methods of construction indicated for the completed Work.

When testing is complete, remove test specimens, assemblies,mockups, and laboratory mockups; do not reuse products on Project.

Testing Agency Responsibilities:  Submit a certified written report of each test, inspection, and similar quality-assurance service to Architect and Owner, with copy to Contractor.  Interpret tests and inspections and state in each report whether tested and inspected work complies with or deviates from the Contract Documents.

Exterior Design Control Mockups:  Before installing portions of the Work requiring mockups, build mockups for each form of construction and finish required to comply with the following requirements, using materials indicated for the completed Work.  Demonstrate the proposed range of aesthetic effects and workmanship.

Build mockups in location indicated or, if not indicated, as directed by Owner.  Coordinate final location with Owner

Where mockup materials are intended to match existing buildings and construction, locate mockup within contract limits and adjacent to existing building for comparison.

Mockup shall be constructed parallel and as close to the same plane as possible with the existing building for comparison.

Mockup and portion of existing building for comparison shall be located so as to be viewed in direct sunlight during daylight hours.  South facing preferred.

Build mock of sufficient size to demonstrate the full range of predominant building materials.

Mockup shall be a minimum of 8’-0” wide x 8’-0” high

Mockup shall be drawn by the design team and included in the contract documents.  Coordinate design of mockup with Owner.

Notify Architect seven days in advance of dates and times when mockups will be constructed.

Obtain Architect's and Owner’s approval of mockups before starting work, fabrication, or construction.

Allow seven days for initial review and each re-review of each mockup.

Allow sufficient cleaning and drying time for all materials

Maintain mockups during construction in an undisturbed condition as a standard for judging the completed Work.

Retain subparagraph below as the default requirement and add specific requirements in individual Specification Sections.

Demolish and remove mockups when directed unless otherwise indicated.

Exterior design control mockups may be serve as field testing mockups if required.  Contractor shall coordinate design of mockup with field testing requirements.

"Laboratory Mockups" Paragraph below is usually limited to non-standard storefronts and curtain-wall systems to be tested for a project.

Laboratory Mockups:  Comply with requirements of preconstruction testing and those specified in individual Specification Sections.

QUALITY CONTROL

Retain "Owner Responsibilities" Paragraph below if some Specification Sections designate Owner as responsible for tests and inspections.

Owner Responsibilities:  Where quality-control services are indicated as Owner's responsibility, Owner will engage a qualified testing agency to perform these services.

Owner will furnish Contractor with names, addresses, and telephone numbers of testing agencies engaged and a description of types of testing and inspecting they are engaged to perform.

Costs for retesting and reinspecting construction that replaces or is necessitated by work that failed to comply with the Contract Documents will be charged to Contractor, and the Contract Sum will be adjusted by Change Order.

Usually retain "Contractor Responsibilities" Paragraph below to address testing and inspection and other quality-control activities not explicitly assigned to Owner.

Contractor Responsibilities:  Tests and inspections not explicitly assigned to Owner are Contractor's responsibility.  Perform additional quality-control activities required to verify that the Work complies with requirements, whether specified or not.

Retain first subparagraph below if some Specification Sections require an independent testing agency to perform certain tests and inspections.

Where services are indicated as Contractor's responsibility, engage a qualified testing agency to perform these quality-control services.

Retain first subparagraph below to assure validity of agencies' reports.

Contractor shall not employ same entity engaged by Owner, unless agreed to in writing by Owner.

Notify testing agencies at least 24 hours in advance of time when Work that requires testing or inspecting will be performed.

Where quality-control services are indicated as Contractor's responsibility, submit a certified written report, in duplicate, of each quality-control service.

Testing and inspecting requested by Contractor and not required by the Contract Documents are Contractor's responsibility.

Submit additional copies of each written report directly to authorities having jurisdiction, when they so direct.

Manufacturer's Field Services:  Where indicated, engage a manufacturer's representative to observe and inspect the Work.  Manufacturer's representative's services include examination of substrates and conditions, verification of materials, inspection of completed portions of the Work, and submittal of written reports.

Retesting/Reinspecting:  Regardless of whether original tests or inspections were Contractor's responsibility, provide quality-control services, including retesting and reinspecting, for construction that replaced Work that failed to comply with the Contract Documents.

Retain "Testing Agency Responsibilities" Paragraph below if Contractor engages testing agency.

Testing Agency Responsibilities:  Cooperate with Architect, Owner and Contractor in performance of duties.  Provide qualified personnel to perform required tests and inspections.

Notify Architect, Owner and Contractor promptly of irregularities or deficiencies observed in the Work during performance of its services.

Determine the location from which test samples will be taken and in which in-situ tests are conducted.

Conduct and interpret tests and inspections and state in each report whether tested and inspected work complies with or deviates from requirements.

Submit a certified written report, in duplicate, of each test, inspection, and similar quality-control service through Contractor.

Do not release, revoke, alter, or increase the Contract Document requirements or approve or accept any portion of the Work.

Do not perform any duties of Contractor.

Associated Services:  Cooperate with agencies performing required tests, inspections, and similar quality-control services, and provide reasonable auxiliary services as requested.  Notify agency sufficiently in advance of operations to permit assignment of personnel.  Provide the following:

Access to the Work.

Incidental labor and facilities necessary to facilitate tests and inspections.

Adequate quantities of representative samples of materials that require testing and inspecting.  Assist agency in obtaining samples.

Facilities for storage and field curing of test samples.

Preliminary design mix proposed for use for material mixes that require control by testing agency.

Security and protection for samples and for testing and inspecting equipment at Project site.

Coordination:  Coordinate sequence of activities to accommodate required quality-assurance and -control services with a minimum of delay and to avoid necessity of removing and replacing construction to accommodate testing and inspecting.

Schedule times for tests, inspections, obtaining samples, and similar activities.

SPECIAL TESTS AND INSPECTIONS

In most instances, Owner will contract directly with testing companies.  Coordinate with BJC project manager.

Many model codes require both periodic and continuous special inspections for certain types of construction and may require Owner or design professional to engage testing agency.  Option in paragraphs uses the term "special inspector," which is consistent with the 2006 IBC; change this term to match that used to identify the entity as defined by authorities having jurisdiction.  Verify requirements with authorities having jurisdiction.

Special Tests and Inspections:  [Owner] [Contractor] will engage a qualified testing agency to conduct special tests and inspections required by authorities having jurisdiction as the responsibility of Owner, and as follows:

Verifying that manufacturer maintains detailed fabrication and quality-control procedures and reviews the completeness and adequacy of those procedures to perform the Work.

Notify Architect, Owner and Contractor promptly of irregularities and deficiencies observed in the Work during performance of its services.

Submitting a certified written report of each test, inspection, and similar quality-control service to Architect with copy to Contractor and to authorities having jurisdiction.

Submitting a final report of special tests and inspections at Substantial Completion, which includes a list of unresolved deficiencies.

Interpreting tests and inspections and stating in each report whether tested and inspected work complies with or deviates from the Contract Documents.

Retesting and reinspecting corrected work.

PRODUCTS (Not Used)

EXECUTION

TEST AND INSPECTION LOG

Coordinate requirements in "Test and Inspection Log" Paragraph below with requirements of authorities having jurisdiction.

Test and Inspection Log:  Prepare a record of tests and inspections.  Include the following:

Date test or inspection was conducted.

Description of the Work tested or inspected.

Date test or inspection results were transmitted to Architect.

Identification of testing agency or special inspector conducting test or inspection.

Maintain log at Project site.  Post changes and revisions as they occur.  Provide access to test and inspection log for Architect's and Owner’s reference during normal working hours.

REPAIR AND PROTECTION

General:  On completion of testing, inspecting, sample taking, and similar services, repair damaged construction and restore substrates and finishes.

Provide materials and comply with installation requirements specified in other Specification Sections or matching existing substrates and finishes.  Restore patched areas and extend restoration into adjoining areas with durable seams that are as invisible as possible.  Comply with the Contract Document requirements for cutting and patching in Section 017300 "Execution."

Protect construction exposed by or for quality-control service activities.

Repair and protection are Contractor's responsibility, regardless of the assignment of responsibility for quality-control services.

END OF SECTION 01 40 00